## Cytometry A. 2023 Jun;103_1
Cell type | Target | Fluorescence | Clone | Heubeck A, Savage A, Henderson K, Roll C, Hernandez V, Torgerson T, et al. Cross-platform immunophenotyping of human peripheral blood mononuclear cells with four high-dimensional flow cytometry panels. Cytometry. 2023; 103(6): 500–517.
Pan-leukocytes | CD45 | BUV496 | HI30 | https://doi.org/10.1002/cyto.a.24715
T cells | CD3 | BUV395 | UCHT1 | TABLE 1. Survey panel antibody reagents
B cells | CD19 | BB790 | HIB19
NK cells | CD56 | APC-R700 | NCAM16.2
Monocytes | CD14 | BUV661 | MϕP9
Antigen presenting cells and activation | HLA-DR | APC-Cy7 | L243
CD4 T cells | CD4 | BV480 | RPA-T4
CD8 T cells | CD8 | BUV737 | RPA-T8
Regulatory T cells and activation | CD25 | BV421 | M-A251
T cell differentiation | CD127 | BV711 | A0195D5
T cell differentiation | CD45RA | BUV615 | HI100
T cell differentiation | CD197 | PE-Cy7 | G043H7
αß T Cells | TCRαß | PE-Dazzle594 | IP26
B cell differentiation | IgD | BV750 | IA6-2
T and B cell memory | CD27 | PE | O323
T and B cell differentiation and activation | CD38 | APC | HB-7
Monocyte and NK cell differentiation | CD16 | BV605 | 3G8
Monocyte and dendritic cell differentiation | CD11b | PerCP-Cy5.5 | M1/70
Monocyte and dendritic cell differentiation | CD11c | BUV805 | B-ly6
Plasmacytoid dendritic cells and basophils | CD123 | BV650 | 6H6
Plasmacytoid dendritic cells | CD304 | BV786 | U21-1283
Dendritic cell differentiation | CD141 | BB515 | 1A4
Neutrophils | CD15 | BUV563 | W6D3
Circulating progenitor cells | CD34 | PE-Cy5 | 581
Viability | Live/Dead | FVS510 | N/A

## Cytometry A. 2023 Jun;103_2
Heubeck A, Savage A, Henderson K, Roll C, Hernandez V, Torgerson T, et al. Cross-platform immunophenotyping of human peripheral blood mononuclear cells with four high-dimensional flow cytometry panels. Cytometry. 2023; 103(6): 500–517.
https://doi.org/10.1002/cyto.a.24715
TABLE 2. T cell panel antibody reagents
Cell type | Target | Fluorescence | Clone
Pan-leukocytes | CD45 | BUV496 | HI30
T cells | CD3 | BUV395 | UCHT1
B cells | CD19 | BUV615 | HIB19
NK cells | CD56 | BUV563 | NCAM16.2
Monocytes | CD14 | BB660 | MϕP9
Antigen presenting cells and activation | HLA-DR | BB790 | G46-6
CD4 T cells | CD4 | BB700 | SK3
CD8 T cells | CD8 | BUV737 | RPA-T8
Regulatory T cells and activation | CD25 | APC-R700 | 2A3
αß T Cells | TCRαß | BV480 | IP26
Tissue resident T cells | CD103 | BV421 | Ber-ACT8
T cell differentiation | CD127 | BV711 | A019D5
T cell differentiation | CD45RA | BV785 | HI100
T cell differentiation | CD197 (CCR7) | PE-Cy7 | G043H7
T cell differentiation | CD27 | BUV661 | L128
T cell differentiation | CD95 | BV650 | DX2
T cell differentiation | CD185 (CXCR5) | BB515 | RF8B2
T cell exhaustion | TIGIT | PE-Dazzle594 | A15153G
T cell exhaustion | KLRG1 | APC-Fire 750 | SA231A2
T cell activation | CD38 | PE-Cy5 | HIT2
T cell activation | CD39 | BUV805 | Tu66
T cell activation | CD69 | APC | FN50
T cell checkpoint | CD223 (LAG3) | BV605 | 11C3C65
T cell checkpoint | CD278 (ICOS) | BV750 | DX29
T cell checkpoint | CD279 (PD-1) | PE | EH12.2H7
Viability | Viability | FVS510 | N/A

## Cytometry A. 2023 Jun;103_3
Cell type | Target | Fluorescence | Clone | Heubeck A, Savage A, Henderson K, Roll C, Hernandez V, Torgerson T, et al. Cross-platform immunophenotyping of human peripheral blood mononuclear cells with four high-dimensional flow cytometry panels. Cytometry. 2023; 103(6): 500–517.
Pan-leukocytes | CD45 | BUV496 | HI30 | https://doi.org/10.1002/cyto.a.24715
T cells | CD3 | BV750 | SK7 | TABLE 3. B cell panel antibody reagents
B cells | CD19 | APC-R700 | HIB19
NK cells | CD56 | BUV615 | NCAM16.2
Monocytes | CD14 | BB660 | MϕP9
Antigen presenting cells and activation | HLA-DR | BV786 | G46-6
B cell differentiation | CD20 | BUV805 | 2H7
B cell differentiation | CD24 | BUV661 | ML5
B cell differentiation | CD27 | PE | O323
B cell differentiation | CD38 | BUV395 | HB7
B cell differentiation | CD10 | PE-Cy5 | HI10a
B cell differentiation | CD21 | PE-Cy7 | Bu32
B cell isotype | IgD | BV480 | IA6-2
B cell isotype | IgM | BUV563 | UCH-B1
B cell isotype | IgA | FITC | IS11-8E10
B cell isotype | IgG | PerCP-Cy5.5 | M1310G05
Plasmablasts | CD319 | BUV737 | 235614
Plasmablasts | CD269 (BCMA) | BV421 | 19F2
Plasmablasts | CD268 (BAFFR) | BV605 | 11C1
B cell activation | CD71 | BV650 | L01.1
B cell activation | CD40 | APC-Cy7 | 5C3
B cell activation | CD85j | APC | GHI/75
B cell activation | CD86 | PE-Dazzle594 | BU63
B cell activation | CD274 (PD-L1) | BV711 | 29 E.2A3
Viability | Viability | FVS510 | N/A

## Cytometry A. 2023 Jun;103_4
Cell type | Target | Fluorescence | Clone | Heubeck A, Savage A, Henderson K, Roll C, Hernandez V, Torgerson T, et al. Cross-platform immunophenotyping of human peripheral blood mononuclear cells with four high-dimensional flow cytometry panels. Cytometry. 2023; 103(6): 500–517.
Pan-leukocytes | CD45 | BUV496 | HI30 | https://doi.org/10.1002/cyto.a.24715
T cells | CD3 | BV650 | UCHT1 | TABLE 4. Myeloid panel antibody reagents
B cells | CD19 | BB790 | HIB19
NK cells | CD14 | BUV395 | MϕP9
Monocytes | CD56 | BUV615 | NCAM16.2
Antigen presenting cells and activation | HLA-DR | BV480 | G46-6
Monocyte and NK cell differentiation | CD16 | PE-Cy5 | 3G8
Monocyte and DC differentiation | CD11b | BV711 | ICRF44
Monocyte and DC differentiation | CD11c | BUV805 | B-ly6
Monocyte differentiation | CD33 | BUV737 | HIM3-4
Monocyte differentiation | CD86 | PE-CF594 | 2331
Monocyte differentiation | CD192 (CCR2) | BV605 | K036C2
Plasmacytoid DCs and basophils | CD123 | BB660 | 7G3
Plasmacytoid DCs | CD304 | BUV661 | U21-1283
Dendritic cell differentiation | CD141 | BB515 | 1A4
Dendritic cell differentiation | CD370 (CLEC9A) | PE | 3A4
Dendritic cell differentiation | CD1c | APC-Cy7 | L161
Neutrophils | CD15 | BUV563 | W6D3
Myeloid cell activation | CD40 | BV750 | 5C3
Myeloid cell activation | CD80 | BV786 | L307.4
Myeloid cell activation | CD172a (SIRPa) | PerCP-eFluor710 | 15–414
Myeloid cell activation | CD195 (CCR5) | APC-R700 | 2D7
Myeloid cell activation | CD197 (CCR7) | PE-Cy7 | G043H7
Myeloid cell activation | CD274 (PD-L1) | APC | 29 E.2A3
Myeloid cell activation | CX3CR1 | BV421 | 2A9-1
Viability | Viability | FVS510 | N/A

## Front Immunol. 2022 Sep 14
Target | Fluorescence | Clone | Vendor | cat | van der Pan Kyra, de Bruin-Versteeg Sandra, Damasceno Daniela, et al. Development of a standardized and validated flow cytometry approach for monitoring of innate myeloid immune cells in human blood. Frontiers in Immunology. 2022 Sep 14;13:935879.
CD141 | BV421 | 1A4 | BD Biosciences | 565321 | https://doi.org/10.3389/fimmu.2022.935879
CD45 | OC515/ BV510 | GA90 | Cytognos | CYT-45OC | SUPPLEMENTARY TABLE 2. Axl+ DC validation- phenotype
CD62L | BV605 | DREG-56 | Biolegend | 304834
CD69 | BV650 | FN50 | BD Biosciences | 563835
HLA-DR | BV711 | G46-6 | BD Biosciences | 564041
CD16 | BV786 | 3G8 | BD Biosciences | 563689
CD1c | FITC/ BB515 | L161 / F10/21A3 | BD Biosciences | 331518 / 565054
FceRI | PE | AER-37 | Thermo Fisher | 12-5899-42
CD63 | PE CF594 | H5C6 | BD Biosciences | 565403
CD33 | PE Cy7 | P67.6 | BD Biosciences | 333952
CD300e / CD303 | APC | UP-H2 / AC144 | Immunostep / Miltenyi Biotech | IREM2A-100T / 130-090-905
CD107a | Alexa Fluor 700 | H4A3 | BD Biosciences | 565184
CD14 | APC H7 | MφP9 | BD Biosciences | 641394

## Int J Mol Sci. 2016 Aug 11;17_1
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD38 | APC | HIT2 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD197 | PE | 150503 | BD Biosciences | Table S3. Preparation of antibody mix for all panels - T cells
CD8 | FITC | HIT8a | BD Biosciences
CD45RA | PECy7 | HI100 | BD Biosciences
CD3 | V450 | UCHT1 | BD Biosciences
CD4 | PCC5.5 | RPA-T4 | BD Biosciences

## Int J Mol Sci. 2016 Aug 11;17_2
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD127 | FITC | HIL-7R-M21 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD25 | PECy7 | M-A251 | BD Biosciences | Table S3. Preparation of antibody mix for all panels - TH & TREGs
CD196 | PE | 11A9 | BD Biosciences
CD183 | APC | 1C6/CXCR3 | BD Biosciences
CD3 | V450 | UCHT1 | BD Biosciences
CD4 | PCC5.5 | RPA-T4 | BD Biosciences

## Int J Mol Sci. 2016 Aug 11;17_3
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD38 | APC | HIT2 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD20 | FITC | 2H7 | BD Biosciences | Table S3. Preparation of antibody mix for all panels - B cells
CD24 | PCC5.5 | ML5 | BD Biosciences
CD1d | PE
CD27 | V450 | M-T271 | BD Biosciences
CD19 | KO | J3-119 | Beckman Coulter
CD5 | PECy7 | UCHT2 | eBioscience

## Int J Mol Sci. 2016 Aug 11;17_4
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD279 | APC | MIH4 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD80 | APCH7 | L307.4 | BD Biosciences | Table S3. Preparation of antibody mix for all panels - T & B cell activation
CD86 | PCC5.5 | IT2.2 | BioLegend
CD25 | PE | M-A251 | BD Biosciences
CD20 | FITC | 2H7 | BD Biosciences
CD19 | FITC | HIB19 | BD Biosciences
HLA-DR | KO | Immu-357 | Beckman Coulter
CD69 | PEV770 | FN50 | Miltenyi Biotec
CD3 | V450 | UCHT1 | BD Biosciences

## Int J Mol Sci. 2016 Aug 11;17_5
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD56 | PCC5.5 | B159 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD3 | KO | UCHT1 | Beckman Coulter | Table S3. Preparation of antibody mix for all panels - NK cells
CD16 | PE | B73.1 | BD Biosciences
CD25 | BV421 | M-A251 | BD Biosciences
CD314 | APC | 149810 | R&D Systems
CD69 | FITC | FN50 | Miltenyi Biotec

## Int J Mol Sci. 2016 Aug 11;17_6
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD14 | FITC | M5E2 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD86 | PCC5.5 | IT2.2 | BioLegend | Table S3. Preparation of antibody mix for all panels - Monocytes
CD16 | PE | B73.1 | BD Biosciences
CD64 | V450 | 10.1 | BD Biosciences
HLA-DR | KO | Immu-357 | Beckman Coulter
CD80 | APC | 2D10 | Miltenyi Biotec

## Int J Mol Sci. 2016 Aug 11;17_7
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD64 | V450 | 10.1 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD16 | KO | 3G8 | Beckman Coulter | Table S3. Preparation of antibody mix for all panels - Granulocytes
CD66 | FITC | B1.1/CD66 | BD Biosciences

## Int J Mol Sci. 2016 Aug 11;17_8
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD274 | PE | MIH1 | BD Biosciences | https://doi.org/10.3390/ijms17081316
CD123 | PCC5.5 | 7G3 | BD Biosciences | Table S3. Preparation of antibody mix for all panels - DC & basophils
CD14 | FITC | M5E2 | BD Biosciences
CD20 | FITC | 2H7 | BD Biosciences
CD3 | FITC | UCHT1 | BD Biosciences
CD16 | FITC | B73.1 | BD Biosciences
CD83 | PECy7 | HB15e | eBioscience
CD19 | FITC | HIB19 | BD Biosciences
HLA-DR | KO | Immu-357 | Beckman Coulter
CD56 | FITC | B159 | BD Biosciences
CD1c | APC | L161 | eBioscience
CD11c | V450 | B-ly6 | BD Biosciences

## Int J Mol Sci. 2016 Aug 11;17_9
Target | Fluorescence | Clone | Vendor | Rühle PF, Fietkau R, Gaipl US, Frey B. Development of a Modular Assay for Detailed Immunophenotyping of Peripheral Human Whole Blood Samples by Multicolor Flow Cytometry. International Journal of Molecular Sciences. 2016; 17(8):1316.
CD133/1 | PE | AC133 | Miltenyi Biotec | https://doi.org/10.3390/ijms17081316
CD34 | APC | 563 | BD Biosciences | Table S3. Preparation of antibody mix for all panels - HSC, CEC & EPC
CD146 | FITC | P1H12 | BD Biosciences
CD45 | PECy7 | HI30 | BD Biosciences

## Nat Rev Immunol. 2012 Feb 17_1
Target | Fluorescence | Clone | Vendor | cat | Finak, G., Langweiler, M., Jaimes, M. et al. Standardizing Flow Cytometry Immunophenotyping Analysis from the Human ImmunoPhenotyping Consortium. Sci Rep 6, 20686 (2016).
CCR7 | PE | 150503 | BD Lyoplate™ | 560765 | https://doi.org/10.1038/srep20686
CD4 | PerCP-Cy5.5 | SK3 | BD Lyoplate™ | 341654 | T cell panel
CD45RA | PE-Cy7 | L48 | BD Lyoplate™ | 337167
CD38 | APC | HIT2
CD8 | APC-H7 | SK1 | BD Lyoplate™ | 560179
CD3 | V450 | UCHT1 | BD Lyoplate™ | 560365
HLA-DR | V500 | G46-6 | BD Lyoplate™ | 561224

## Nat Rev Immunol. 2012 Feb 17_2
Target | Fluorescence | Clone | Vendor | cat | Finak, G., Langweiler, M., Jaimes, M. et al. Standardizing Flow Cytometry Immunophenotyping Analysis from the Human ImmunoPhenotyping Consortium. Sci Rep 6, 20686 (2016).
CD25 | PE | 2A3 | BD Lyoplate™ | 341009 | https://doi.org/10.1038/srep20686
CD4 | PerCP-Cy5.5 | SK3 | BD Lyoplate™ | 341654 | Treg panel
CCR4 | PE-Cy7 | 1G1 | BD Lyoplate™ | 557864
CD127 | APC | HIL-7R-M21 | BD Lyoplate™ | 560905
CD45RO | APC-H7 | UCHL1 | BD Lyoplate™ | 561137
CD3 | V450 | UCHT1 | BD Lyoplate™ | 560365
HLA-DR | V500 | G46-6 | BD Lyoplate™ | 561224

## Nat Rev Immunol. 2012 Feb 17_3
Target | Fluorescence | Clone | Vendor | cat | Finak, G., Langweiler, M., Jaimes, M. et al. Standardizing Flow Cytometry Immunophenotyping Analysis from the Human ImmunoPhenotyping Consortium. Sci Rep 6, 20686 (2016).
CD24 | PE | ML5 | BD Lyoplate™ | 555428 | https://doi.org/10.1038/srep20686
CD19 | PerCP-Cy5.5 | SJ25C1 | BD Lyoplate™ | 340951 | B cell panel
CD27 | PE-Cy7 | M-T271 | BD Lyoplate™ | 560609
CD38 | APC | HIT2
CD20 | APC-H7 | 2H7 | BD Lyoplate™ | 560734
CD3 | V450 | UCHT1 | BD Lyoplate™ | 560365
IgD | V500 | IA6-2 | BD Lyoplate™ | 561490

## Nat Rev Immunol. 2012 Feb 17_4
Target | Fluorescence | Clone | Vendor | cat | Finak, G., Langweiler, M., Jaimes, M. et al. Standardizing Flow Cytometry Immunophenotyping Analysis from the Human ImmunoPhenotyping Consortium. Sci Rep 6, 20686 (2016).
CD56 | PE | B159 | BD Lyoplate™ | 555516 | https://doi.org/10.1038/srep20686
CD123 | PerCP-Cy5.5 | 7G3 | BD Lyoplate™ | 558714 | DC/mono/NK panel
CD11c | PE-Cy7 | B-LY6 | BD Lyoplate™ | 561356
CD16 | APC | B73.1 | BD Lyoplate™ | 561304
CD3 | APC-H7 | SK7 | BD Lyoplate™ | 560176
CD19 | APC-H7 | SJ25C1 | BD Lyoplate™ | 643078
CD20 | APC-H7 | 2H7 | BD Lyoplate™ | 560734
CD14 | V450 | MPHIP9 | BD Lyoplate™ | 560349
HLA-DR | V500 | G46-6 | BD Lyoplate™ | 561224

## Nat Rev Immunol. 2012 Feb 17_5
Target | Fluorescence | Clone | Vendor | cat | Finak, G., Langweiler, M., Jaimes, M. et al. Standardizing Flow Cytometry Immunophenotyping Analysis from the Human ImmunoPhenotyping Consortium. Sci Rep 6, 20686 (2016).
CXCR3 | PE | 1C6/CXCR3 | BD Lyoplate™ | 557185 | https://doi.org/10.1038/srep20686
CD4 | PerCP-Cy5.5 | SK3 | BD Lyoplate™ | 341654 | Th1/2/17 panel
CCR6 | PE-Cy7 | 11A9 | BD Lyoplate™ | 560620
CD38 | APC | HIT2
CD8 | APC-H7 | SK1 | BD Lyoplate™ | 560179
CD3 | V450 | UCHT1 | BD Lyoplate™ | 560365
HLA-DR | V500 | G46-6 | BD Lyoplate™ | 561224

## Int J Lab Hematol. 2021 Oct_1
Target | Fluorescence | Clone | Vendor | Wang W, Li H, Zhang L, Jiang W, Shen L, Fan G. Clinical applications of monitoring immune status with 90 immune cell subsets in human whole blood by 10-color flow cytometry. Int J Lab Hematol. 2021 Oct;43(5):1132-1144.
CD4 | FITC | 13B8.2 | Beckman Coulter | https://doi.org/10.1111/ijlh.13541
CD25 | PE | B1.49.9 | Beckman Coulter | Supplementary Table 1. T cell subsets
CD8 | ECD | B9.11 | Beckman Coulter
TCR γδ | PC5.5 | IMMU510 | Beckman Coulter
CD127 | PC7 | R34.34 | Beckman Coulter
TCR αβ | APC | IP26A | Beckman Coulter
CD19 | APC-AF700 | J3-119 | Beckman Coulter
CD3 | APC-AF750 | UCHT1 | Beckman Coulter
CD45 | KrO | J33 | Beckman Coulter

## Int J Lab Hematol. 2021 Oct_2
Target | Fluorescence | Clone | Vendor | Wang W, Li H, Zhang L, Jiang W, Shen L, Fan G. Clinical applications of monitoring immune status with 90 immune cell subsets in human whole blood by 10-color flow cytometry. Int J Lab Hematol. 2021 Oct;43(5):1132-1144.
CD4 | FITC | 13B8.2 | Beckman Coulter | https://doi.org/10.1111/ijlh.13541
CD69 | PE | TP1.55.3 | Beckman Coulter | Supplementary Table 1. T cell activations
CD45RA | ECD | 2H4LDH11LDB9(2H4) | Beckman Coulter
CD279(PD1) | PC5.5 | PD1.3 | Beckman Coulter
CD45RO | PC7 | UCHL1 | Beckman Coulter
CD8 | APC-AF700 | B9.11 | Beckman Coulter
CD3 | APC-AF750 | UCHT1 | Beckman Coulter
HLA-DR | PB | Immu-357 | Beckman Coulter
CD45 | KrO | J33 | Beckman Coulter

## Int J Lab Hematol. 2021 Oct_3
Target | Fluorescence | Clone | Vendor | Wang W, Li H, Zhang L, Jiang W, Shen L, Fan G. Clinical applications of monitoring immune status with 90 immune cell subsets in human whole blood by 10-color flow cytometry. Int J Lab Hematol. 2021 Oct;43(5):1132-1144.
Kappa | FITC | Polyclonal | Dako | https://doi.org/10.1111/ijlh.13541
Lambda | PE | Polyclonal | Dako | Supplementary Table 1. B cell subsets
CD19 | ECD | J3-119 | Beckman Coulter
CD27 | PC7 | 1A4CD27 | Beckman Coulter
IgD | APC | IA6-2 | Beckman Coulter
CD3 | APC-AF750 | UCHT1 | Beckman Coulter
CD5 | PB | BL1a | Beckman Coulter
CD45 | KrO | J33 | Beckman Coulter

## Int J Lab Hematol. 2021 Oct_4
Target | Fluorescence | Clone | Vendor | Wang W, Li H, Zhang L, Jiang W, Shen L, Fan G. Clinical applications of monitoring immune status with 90 immune cell subsets in human whole blood by 10-color flow cytometry. Int J Lab Hematol. 2021 Oct;43(5):1132-1144.
CD14 | FITC | RMO52 | Beckman Coulter | https://doi.org/10.1111/ijlh.13541
CD11c | PE | BU15 | Beckman Coulter | Supplementary Table 1. Neutrophils, Monocytes, DCs, and NK subsets
CD123 | ECD | SSDCKY107D2 | Beckman Coulter
CD56 | PC5.5 | N901(NKH-1) | Beckman Coulter
CD13 | PC7 | 366(My7) | Beckman Coulter
CD3 | APC | UCHT1 | Beckman Coulter
CD19 | APC-AF700 | J3-119 | Beckman Coulter
HLA-DR | APC-AF750 | L243 | BD Biosciences
CD16 | PB | 3G8 | Beckman Coulter
CD45 | KrO | J33 | Beckman Coulter

## Sci Rep. 2017 Mar 10;7_1
Target | Fluorescence | Clone | Vendor | cat | Veluchamy JP, Delso-Vallejo M, Kok N, Bohme F, Seggewiss-Bernhardt R, van der Vliet HJ, de Gruijl TD, Huppert V, Spanholtz J. Standardized and flexible eight colour flow cytometry panels harmonized between different laboratories to study human NK cell phenotype and function. Sci Rep. 2017 Mar 10;7:43873.
CD45 | VioGreen | 5B1 | Miltenyi | 130-096-906 | https://doi.org/10.1038/srep43873
CD3 | VioBlue | BW264/56 | Miltenyi | 130-094-363 | Table 2 Antibody specifications - NK phenotype panel.
TCRγδ | VioBlue | 11F2 | Miltenyi | 130-101-557
CD14 | VioBlue | TÜK4 | Miltenyi | 130-094-364
CD19 | VioBlue | LT19 | Miltenyi | 130-098-598
PanKIR2D | FITC | NKVFS1 | Miltenyi | 130-098-689
NKG2A | PE-Vio770 | REA110 | Miltenyi | 130-105-647
NKG2C | PE | REA205 | Miltenyi | 130-103-635
NKG2D | PerCP-Cy5.5 | 1D11 | Biolegend | 320818
CD16 | APC | VEP13 | Miltenyi | 130-091-246
CD56 | APC-Vio770 | REA196 | Miltenyi | 130-100-694

## Sci Rep. 2017 Mar 10;7_2
Target | Fluorescence | Clone | Vendor | cat | Veluchamy JP, Delso-Vallejo M, Kok N, Bohme F, Seggewiss-Bernhardt R, van der Vliet HJ, de Gruijl TD, Huppert V, Spanholtz J. Standardized and flexible eight colour flow cytometry panels harmonized between different laboratories to study human NK cell phenotype and function. Sci Rep. 2017 Mar 10;7:43873.
CD45 | VioGreen | 5B1 | Miltenyi | 130-096-906 | https://doi.org/10.1038/srep43873
CD14 | VioBlue | TÜK4 | Miltenyi | 130-094-364 | Table 3 Antibody specifications - NK function panel.
CD19 | VioBlue | LT19 | Miltenyi | 130-098-598
CD25 | VioBrightFITC | 4000 | Miltenyi | 130-104-274
CD107a | PE | H4A3 | Miltenyi | 130-095-515
NKp44 | PE-Vio770 | 2.29 | Miltenyi | 130-104-195
CD3 | PerCP-Vio700 | BW264/56 | Miltenyi | 130-097-582
TCRγδ | PerCP-Vio700 | 11F2 | Miltenyi | 130-103-784
CD16 | APC | VEP13 | Miltenyi | 130-091-246
CD56 | APC-Vio770 | REA196 | Miltenyi | 130-100-694

## Phenomics. 2023 Feb 23;3_1
Target | Fluorescence | Clone | Vendor | cat | Gao J, Luo Y, Li H, Zhao Y, Zhao J, Han X, Han J, Lin H, Qian F. Deep Immunophenotyping of Human Whole Blood by Standardized Multi-parametric Flow Cytometry Analyses. Phenomics. 2023 Feb 23;3(3):309-328.
CD64 | FITC | 10.1 | Biolegend | 305006 | https://doi.org/10.1007/s43657-022-00092-9
CD15 | PerCP/Cy5.5 | HI98 | Biolegend | 301922 | Table 1. PMNs, monocytes, DCs panel
CD86 | PE | IT2.2 | BD | 555665
CD11c | PE/CF594 | 3.9 | BD | 565920
CD123 | PE/Cy7 | 6H6 | Biolegend | 306010
CD16 | APC | 3G8 | Biolegend | 302012
HLA-DR | AF700 | L243 | Biolegend | 307626
LINa | APC/Fire750
CD14 | BV421 | MφP9 (MφP-9) | BD | 563743
CD45 | BV510 | HI30 | BD | 563204
CD38 | BV605 | HB-7 | BD | 562665

## Phenomics. 2023 Feb 23;3_2
Target | Fluorescence | Clone | Vendor | cat | Gao J, Luo Y, Li H, Zhao Y, Zhao J, Han X, Han J, Lin H, Qian F. Deep Immunophenotyping of Human Whole Blood by Standardized Multi-parametric Flow Cytometry Analyses. Phenomics. 2023 Feb 23;3(3):309-328.
TCR Vα7.2 | FITC | 3C10 | Biolegend | 351704 | https://doi.org/10.1007/s43657-022-00092-9
CD335 (NKp46) | PerCP/Cy5.5 | 900 | Biolegend | 331920 | Table 1. NK, NKT, MAIT and γδT cells
TCR Vδ2 | PE | B6 | BD | 555739
NKG2D | PE/CF594 | 1D11 | BD | 562498
CD16 | PE/Cy7 | 3G8 | BD | 557744
TCR γδ | APC | B1 | BD | 555718
CD161 | AF700 | HP-3G10 | Biolegend | 339942
CD3 | APC/Fire750 | UCHT1 | Biolegend | 300470
CD56 | BV421 | NCAM16.2 | BD | 562751
CD45 | BV510 | HI30 | BD | 563204
CD8 | BV605 | SK1 | BD | 564116

## Phenomics. 2023 Feb 23;3_3
Target | Fluorescence | Clone | Vendor | cat | Gao J, Luo Y, Li H, Zhao Y, Zhao J, Han X, Han J, Lin H, Qian F. Deep Immunophenotyping of Human Whole Blood by Standardized Multi-parametric Flow Cytometry Analyses. Phenomics. 2023 Feb 23;3(3):309-328.
CD197 (CCR7) | FITC | G043H7 | Biolegend | 353216 | https://doi.org/10.1007/s43657-022-00092-9
CD3 | PerCP/Cy5.5 | UCHT1 | Biolegend | 300430 | Table 1. T eff/mem and Treg cells panel
CD95 | PE | DX2 | Biolegend | 305608
CD25 | PE/CF594 | M-A251 | BD | 562403
HLA-DR | PE/Cy7 | L243 | Biolegend | 307616
CD39 | APC | A1 | Biolegend | 328210
CD45RA | AF700 | HI100 | BD | 560673
CD4 | APC/Fire750 | RPA-T4 | Biolegend | 300560
CD127 | BV421 | HIL-7R-M21 | BD | 562436
CD45 | BV510 | HI30 | BD | 563204
CD8 | BV605 | SK1 | BD | 564116

## Phenomics. 2023 Feb 23;3_4
Target | Fluorescence | Clone | Vendor | cat | Gao J, Luo Y, Li H, Zhao Y, Zhao J, Han X, Han J, Lin H, Qian F. Deep Immunophenotyping of Human Whole Blood by Standardized Multi-parametric Flow Cytometry Analyses. Phenomics. 2023 Feb 23;3(3):309-328.
CD85j | FITC | GHI/75 | BD | 555942 | https://doi.org/10.1007/s43657-022-00092-9
CD3 | PerCP/Cy5.5 | UCHT1 | Biolegend | 300430 | Table 1. T cells functional status panel
CD279 (PD-1) | PE | EH12.1 | BD | 560795
CD69 | PE/CF594 | FN50 | BD | 562617
CD28 | PE/Cy7 | CD28.2 | Biolegend | 302926
CD57 | APC | NK-1 | BD | 560845
HLA-DR | AF700 | L243 | Biolegend | 307626
CD4 | APC/Fire750 | RPA-T4 | Biolegend | 300560
CD38 | BV421 | HB-7 | Biolegend | 356618
CD45 | BV510 | HI30 | BD | 563204
CD8 | BV605 | SK1 | BD | 564116

## Phenomics. 2023 Feb 23;3_5
Target | Fluorescence | Clone | Vendor | cat | Gao J, Luo Y, Li H, Zhao Y, Zhao J, Han X, Han J, Lin H, Qian F. Deep Immunophenotyping of Human Whole Blood by Standardized Multi-parametric Flow Cytometry Analyses. Phenomics. 2023 Feb 23;3(3):309-328.
CD185 (CXCR5) | FITC | J252D4 | Biolegend | 356914 | https://doi.org/10.1007/s43657-022-00092-9
CD3 | PerCP/Cy5.5 | UCHT1 | Biolegend | 300430 | Table 1. Th, Tc, Tfh and Treg cells panel
CD278 (ICOS) | PE | C398.4A | Biolegend | 313508
CD25 | PE/CF594 | M-A251 | BD | 562403
CD183 (CXCR3) | PE/Cy7 | 1C6/CXCR3 (also 1C6, LS177-1C6) | BD | 560831
CD196 (CCR6) | APC | 11A9 | BD | 560619
CD127 | AF700 | A019D5 | Biolegend | 351344
CD4 | APC/Fire750 | RPA-T4 | Biolegend | 300560
CD194 (CCR4) | BV421 | L291H4 | Biolegend | 359414
CD45 | BV510 | HI30 | BD | 563204
CD8 | BV605 | SK1 | BD | 564116

## Phenomics. 2023 Feb 23;3_6
Target | Fluorescence | Clone | Vendor | cat | Gao J, Luo Y, Li H, Zhao Y, Zhao J, Han X, Han J, Lin H, Qian F. Deep Immunophenotyping of Human Whole Blood by Standardized Multi-parametric Flow Cytometry Analyses. Phenomics. 2023 Feb 23;3(3):309-328.
CD21 | FITC | B-ly4 | BD | 561372 | https://doi.org/10.1007/s43657-022-00092-9
CD20 | PerCP/Cy5.5 | 2H7 | Biolegend | 302326 | Table 1. B cells panel
CD24 | PE | ML5 | BD | 555428
CD11c | PE/CF594 | 3.9 | BD | 565920
IgD | PE/Cy7 | IA6-2 | BD | 561314
CD38 | APC | HB-7 | Biolegend | 356606
IgG | AF700 | G18-145 | BD | 561296
CD19 | APC/Fire750 | HIB19 | Biolegend | 302258
CD27 | BV421 | M-T271 | BD | 562513
CD45 | BV510 | HI30 | BD | 563204
IgM | BV605 | G20-127 | BD | 562977